## Slide 1: Long-Term Durability of Bioprosthetic Valves at Right Ventricular Outflow Tract : Pericardial Valve versus Porcine Valve
Jae Gun Kwak1, Chang-Ha Lee2, Woong-Han Kim1, Yong Jin Kim2, Jeong Ryul Lee1
Ji Hyun Bang1, SungKyu Cho2, Beatrice Chia-Hui Shih1
1Department of Thoracic and Cardiovascular Surgery, Seoul National University Children’s Hospital
2Department of Thoracic and Cardiovascular Surgery, Sejong General Hospital

## Slide 2: Purpose
To compare long-term durability of the pericardial valve (Carpentier-Edward Perimount Magna valve, Edwards Lifesciences, Irvine, CA) and the porcine valve (Hancock II valve, Medtronic, Minneapolis, MN) in the pulmonic position in patients with conotruncal anomalies accompanying with pulmonary atresia or stenosis

## Slide 3: Methods
Retrospective study
From 2 institutions
258 cases of pulmonary valve implantation between 2001 and 2009 in 248 patients
  Comparison between Carpentier-Edward Perimount Magna valve (n=129) and Hancock II valve (n=129)
  Patients with other valves were excluded

## Slide 4: Results
Preoperative diagnosis
  Tetralogy of Fallot (n=180, 69.8%)
  Pulmonary Atresia with Ventricular Septal Defect (n=38, 14.7%)
  Double Outlet Right Ventricle (n=15, 5.8%)
  Transposition of Great Arteries (n=7, 2.6%)
  Truncus Arteriosus (n=4, 1.5%)

## Slide 5: Results
Patients’ Age at operation: 14.9 ± 8.7 years
Mean follow-up duration: 12.3 ± 5.9 years
  Follow-up data completation in 219 cases (84.9 %)
  10 patients died (4.0 %)
  64 patients: reoperation for PVR
    10 patients: reoperation between 2001 and 2009

## Slide 6: Results
Overall freedom from redo pulmonary valve replacement at 5, 10 and 15 years was 95.7%, 82.4% and 71.6%, respectively
Prosthetic valve dysfunction: moderate or severe PR, PS ≥ 3.5 m/s of velocity
CE
CE
Hancock
Hancock
P = 0.001
P = 0.02

## Slide 7: Conclusions
The porcine valve (Hancock II) showed more favorable re-operation free rate and long-term valvular function than pericardial valve (Carpentier-Edward Magna) in pulmonic position in patients with various type of congenital cardiac anomalies accompanying with right ventricular outflow tract stenosis or atresia